## ReadMe
Purpose: | This spreadsheet is required to be filled out for site plan applications that are subject to the Reclaimed Water Connection Requirements and Onsite Water Reuse System Requirements in Section 25-9 of the Land Development Code. While not required for other projects, it may be filled out and submitted with a site plan application to help calculate Water Supply Fixture Units and water demands for a project.
Notes: | 1. Table 610.3 must be used for projects with fewer than 10 toilets/urinals that have flushometer valves. Projects with 10 or more toilets/urinals with flushometer valves may use either Table 610.3 or Table A 103.1.
2. These tables are from the 2021 version of the Uniform Plumbing Code, but have been modified slightly for ease of use.
3. This calculator assumes projects using non-potable water for clothes washing will have a single cold non-potable supply line that branches off to an on-demand/tankless water heater for each clothes washer. Having a hot potable supply line enter the washing machine from a water heater supplying other potable fixtures creates a potential for backflow and contamination of a building's potable water supply. See the schematic below of the single non-potable supply line to toilets and clothes washers.

## Table 610.3
Site Plan Case Number: |  | Project Address:
Step 1. Fill out the Total Number of Fixtures column for your project and indicate the Water Supply Type in the table
to get a total water supply fixture unit count by supply type (potable vs. non-potable).
Fixture Type |  | Total Number of Fixtures |  | Water Supply Fixture Units (WSFU) |  | Total WSFU | Water Supply Type
hot and cold
Bathtub or Combination Bath/Shower |  |  | x | 4 | = | 0 | Potable |  | Potable
Bathtub with 3/4" fill valve |  |  | x | 10 | = | 0 | Potable |  | Non-potable
Bidet |  |  | x | 1 | = | 0 | Potable
Clothes Washer |  |  | x | 4 | = | 0 | Non-potable
Dishwasher, domestic |  |  | x | 1.5 | = | 0 | Potable
Drinking Fountain or Water Cooler |  |  | x | 0.5 | = | 0 | Potable
Lavatory |  |  | x | 1 | = | 0 | Potable
Sinks
Bar | Public |  | x | 2 | = | 0 | Potable
| Private |  | x | 1 | = | 0 | Potable
Kitchen, domestic |  |  | x | 1.5 | = | 0 | Potable
Laundry |  |  | x | 1.5 | = | 0 | Potable
Service or mop basin | Public |  | x | 3 | = | 0 | Potable
| Private |  | x | 1.5 | = | 0 | Potable
Washup basin |  |  | x | 2 | = | 0 | Potable
Shower, per head |  |  | x | 2 | = | 0 | Potable
Urinal, 1.0 GPF flushometer valve |  |  | x | 20,15,10,8,5 | = | 0 | Non-potable
Water Closet, 1.6 GPF | Flushometer Valve |  | x | 40,30,20,15,10 | = | 0 | Non-potable
| Tank Type |  | x | 2.5 | = | 0 | Non-potable
First Hose Bibb |  |  | x | 2.5 | = | 0 | Potable
Hose Bibb, each additional |  |  | x | 1 | = | 0 | Potable
|  |  | x |  | = | 0
|  |  | x |  | = | 0
|  |  | x |  | = | 0
|  |  | x |  | = | 0
Total Fixture Units (WSFU) | [5 empty] | 0 | Potable
Total Fixture Units (WSFU) | [5 empty] | 0 | Non-potable
Step 2. Convert WSFU to gpm for each supply type |  | Potable WSFU | = | 0 | -> |  | gpm
using Chart A 103.1 from the 2021 UPC. |  | Non-potable WSFU | = | 0 | -> |  | gpm
Step 3. Specify additional peak demands from water use by supply type (select Supply Type).
Additional Water Use | Peak Demand | Flow Rate |  | Supply Type
Process water or special use water |  | gpm |  | Non-potable
Cooling tower makeup water |  | gpm |  | Non-potable
Irrigation system |  | gpm |  | Non-potable
Step 4. Select the type of non-potable water supply system to add the demands for each required meter (select Yes or No).
Reclaimed Water System | [5 empty] | Onsite Water Reuse System |  | Yes
|  | *OR* |  | Applying for OWRS fee in lieu |  |  | No | No
Required Meter Types | GPM |  |  | Required Meter Types |  |  | GPM
Domestic potable water meter | 0 |  |  | Domestic potable water meter |  |  | 0
Domestic reclaimed water meter | 0 |  |  | Non-potable water backup meter |  |  | 0
Irrigation reclaimed water meter | 0 |  |  | Reclaimed main size needed for OWRS fee in lieu |  |  | FALSE
Step 5. Please email complete sheet to AW_ONSITEREUSE@austintexas.gov for approval
Step 6. Determine the appropriate sized meters to meet the demands and add them to the AW Standard Notes sheet along with
a printout of this sheet.
Austin Water Staff Review
| Signature: |  |  |  |  | Date:
Type of Service/Rate: |  |  |  | Type of Service/Rate:
(SP) O Mandatory O Non-mandatory
(SA) O Residential O Commercial O City of Austin O Parkland | [5 empty] | Fee in lieu $ | 0

## Table A 103.1
Site Plan Case Number: |  | Project Address:
Step 1. Fill out the Total Number of Fixtures column for your project and indicate the Water Supply Type in the table
to get a total water supply fixture unit count by supply type (potable vs. non-potable).
Fixture Type |  | Total Number of Fixtures |  | Water Supply Fixture Units (WSFU) |  | Total WSFU | Water Supply Type
hot and cold
Bathtub or Combination Bath/Shower |  |  | x | 4 | = | 0 | Potable |  | Potable
Bathtub with 3/4" fill valve |  |  | x | 10 | = | 0 | Potable |  | Non-potable
Bidet |  |  | x | 1 | = | 0 | Potable
Clothes Washer |  |  | x | 4 | = | 0 | Non-potable
Dishwasher, domestic |  |  | x | 1.5 | = | 0 | Potable
Drinking Fountain or Water Cooler |  |  | x | 0.5 | = | 0 | Potable
Lavatory |  |  | x | 1 | = | 0 | Potable
Sinks
Bar | Public |  | x | 2 | = | 0 | Potable
| Private |  | x | 1 | = | 0 | Potable
Kitchen, domestic |  |  | x | 1.5 | = | 0 | Potable
Laundry |  |  | x | 1.5 | = | 0 | Potable |  |  | 10 or more toilets/urinals use App. A
Service or mop basin | Public |  | x | 3 | = | 0 | Potable
| Private |  | x | 1.5 | = | 0 | Potable
Washup basin |  |  | x | 2 | = | 0 | Potable |  |  | This one is not for small systems.
Shower, per head |  |  | x | 2 | = | 0 | Potable
Urinal, 1.0 GPF flushometer valve |  |  | x | 4 | = | 0 | Non-potable
Water Closet, 1.6 GPF | Flushometer Valve |  | x | 5 | = | 0 | Non-potable
| Tank Type |  | x | 2.5 | = | 0 | Non-potable
First Hose Bibb |  |  | x | 2.5 | = | 0 | Potable
Hose Bibb, each additional |  |  | x | 1 | = | 0 | Potable
|  |  | x |  | = | 0
|  |  | x |  | = | 0
|  |  | x |  | = | 0
|  |  | x |  | = | 0
Total Fixture Units (WSFU) | [5 empty] | 0 | Potable
Total Fixture Units (WSFU) | [5 empty] | 0 | Non-potable
Step 2. Convert WSFU to gpm for each supply type |  | Potable WSFU | = | 0 | -> |  | gpm
using Chart A 103.1 from the 2021 UPC. |  | Non-potable WSFU | = | 0 | -> |  | gpm
Step 3. Specify additional peak demands from water use by supply type (select Supply Type).
Additional Water Use | Peak Demand | Flow Rate |  | Supply Type
Process water or special use water |  | gpm |  | Non-potable
Cooling tower makeup water |  | gpm |  | Non-potable
Irrigation system |  | gpm |  | Non-potable
Step 4. Select the type of non-potable water supply system to add the demands for each required meter (select Yes or No).
Reclaimed Water System | [5 empty] | Onsite Water Reuse System |  | Yes
|  | *OR* |  | Applying for OWRS fee in lieu |  |  |  | No
Required Meter Types | GPM |  |  | Required Meter Types |  |  | GPM
Domestic potable water meter | 0 |  |  | Domestic potable water meter |  |  | 0
Domestic reclaimed water meter | 0 |  |  | Non-potable water backup meter |  |  | 0
Irrigation reclaimed water meter | 0 |  |  | Reclaimed main size needed for OWRS fee in lieu |  |  | FALSE
Step 5. Please email complete sheet to AW_ONSITEREUSE@austintexas.gov for approval
Step 6. Determine the appropriate sized meters to meet the demands and add them to the AW Standard Notes sheet along with
a printout of this sheet.
Austin Water Staff Review
| Signature: |  |  |  |  | Date:
Type of Service/Rate: |  |  |  | Type of Service/Rate:
(SP) O Mandatory O Non-mandatory
(SA) O Residential O Commercial O City of Austin O Parkland | [5 empty] | Fee in lieu $ | 0